| Name of Practice: Enter address and contact information here. Name of Project: Enter name here. Location: Enter address here. # Date: Enter name here. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| # 2012 Ontario Building Code Data Matrix # Part 11 – Renovation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | # Building Code Reference 1 |
| 11.00 |  | Building Code Version: | O. Reg. 332/122 |  |  |  |  |  | Last Amendment |  |  |  |  |  |  | O. Reg. 89/23 |  |  |  |  |  |  |
|  |  |  | ☐ This design was substantially complete prior to January 1, 2025 under the 2012 Ontario Building Code |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11.01 |  | Project Type: | ☐ Addition ☐ Renovation ☐ Addition and renovation ☐ Change of use |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | [A] 1.1.2.6. |
|  |  |  | Description: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11.02 |  | Major Occupancy Classification: | Occupancy Use |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 3.1.2.1.(1), and 11.2.1. |
| 11.03 |  | Superimposed Major Occupancies: | ☐ No ☐ Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 11.2 and 3.2.2.5. to 3.2.2.8. |
|  |  |  | Description: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11.04 |  | Building Area (m2) Insert additional lines as needed | Description: Total |  |  |  |  |  |  |  |  |  | Existing 0 0 0 0 0 |  |  | New 0 0 0 0 0 |  |  |  |  | Total 0 0 0 0 0 | [A] 1.4.1.2., 11.2, and 11.3 |
| 11.05 |  | Building Height | 0 0 | Storeys above grade Storeys below grade |  |  |  |  |  |  |  |  | 0 |  |  | (m) Above grade |  |  |  |  |  | [A] 1.4.1.2. & 3.2.1.1., and 11.3 |
| 11.06 |  | Number of Streets/ Firefighter access | 0 street(s) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 3.2.2.10., 3.2.5., and 11.3 |
| 11.07 |  | Building Size | ☐ Small ☐ Medium ☐ Large ☐ > Large |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | T.11.2.1.1.B-N. |
| 11.08 |  | Existing Building Classification: | Change in Major Occupancy: ☐ Yes ☐ Not Applicable (no change of major occupancy) Construction Index: 0 Hazard Index: 0 Importance Category : ☐ Low ☐ Normal ☐ High ☐ Post-disaster |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 11.2.1.1. T 11.2.1.1.A T 11.2.1.1.B to N 4.2.1.(3), and 5.2.2.1.(2) |
| 11.09 |  | Renovation type: | ☐ Basic Renovation ☐ Extensive Renovation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 11.3.3.1. 11.3.3.2. |
| 11.10 |  | Occupant Load Insert additional lines as needed | Floor Level/Area |  |  |  |  | Occupancy Type |  |  |  |  | Based On |  |  |  |  | Occupant Load (Persons) 0 0 0 0 |  |  |  | 3.1.17., 11.4.2.2. |
| 11.11 a |  | Plumbing Fixture Requirements | Ratio: M:F = 50:50 Except as otherwise noted |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 3.7.4., 11.3.4., 11.3.5., 11.4.2.4., and 11.4.2.5. |
|  |  | Insert additional lines as needed | Floor Level/Area |  |  |  | Occupant Load 0 0 0 0 |  |  |  | OBC Reference |  |  |  | WCs Required 0 0 0 0 |  |  |  |  | WCs Provided 0 0 0 0 |  |  |
| 11.11b | Plumbing Fixture Requirements continued: Insert additional lines as needed |  | Floor Level/Area (repeated) |  |  | Barrier-free WCs Required 0 0 0 0 |  |  |  | Barrier-free WCs Provided |  |  |  | Universal Washrooms Required 0 0 0 0 |  |  |  |  | Universal Washrooms Provided 0 0 0 0 |  |  | Tables 3.8.2.3.A and 3.8.2.3.B |
| 11.12 |  | Barrier-free Design: | Yes No |  | Explanation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 11.3.3.2.(2) |
|  |  | Barrier-free Entrances: | Number |  | Explanation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11.13 |  | Reduction in Performance Level: | Structural: By Increase in occupant load: By change of major occupancy: Plumbing: Sewage-systems: Extension of buildings of combustible construction: |  |  |  |  |  |  |  |  | ☐ No ☐ No ☐ No ☐ No ☐ No ☐ No |  |  |  | ☐ Yes ☐ Yes ☐ Yes ☐ Yes ☐ Yes ☐ Yes |  |  |  |  |  | 11.4.2.1. 11.4.2.2. 11.4.2.3. 11.4.2.4. 11.4.2.5. 11.4.2.6. |
| 11.14 |  | Compensating Construction: | ☐ No ☐ Yes Structural: ☐ No ☐ Yes (Describe) Increase in occupant load: ☐ No ☐ Yes (Describe) Change of major occupancy: ☐ No ☐ Yes (Describe) Plumbing: ☐ No ☐ Yes (Describe) Sewage systems: ☐ No ☐ Yes (Describe) Extension of buildings of combustible construction: ☐ No ☐ Yes (Describe) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 11.4.3.1, 11.4.3.2, 11.4.3.3, 11.4.3.4, 11.4.3.5, 11.4.3.6, 11.4.3.7. |
| 11.15 |  | Compliance Alternatives Proposed: | ☐ No ☐ Yes (list numbers and describe) (list numbers and describe) (list numbers and describe) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 11.5.1. |
| 11.16 |  | Notes: Insert additional lines as needed | Is an alternative solution used? Yes No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 11.5.1. |

1	All references are to Division B of the OBC, unless preceded by [A] for Division A and [C] for Division C.