| ##### Drawings Reviewed: (titles plus dates) | Project Name: Project Number: Review By: Date: Approved By: BCDN: |
| --- | --- |

Legend: N Not required R Required C Confirm requirements or RC Review completed and item construction detail(s) indicated on documents This checklist is intended to assist architects in a review of code requirements to be considered in the preparation and review of documents to support a permit application. A simple review of the checklist is not a substitute for a thorough review of the OBC. Modify the checklist to note applicable code requirements for the project.

1 GENERAL  	   OBC Reference(s)

|  | a | Occupancy classification | 3.1.2 |
| --- | --- | --- | --- |
|  | b | Change in major occupancy / change in Use | 2.4.1.1, 3.15 & 11.4 |
|  | c | Professional design (if YES, Part 3 General Checklist and review Part 10, 11 review required) | (2.1.1.7) & 11.4 |

2	 EXISTING BUILDING REQUIREMENTS (applicable to “occupancy”)

|  | a | Classification: No. of streets: |  |
| --- | --- | --- | --- |
|  | b | Construction: Comb: Non-comb: [F.S.R.: Wall-150, Ceiling-25 Max] |  |
|  | c | Fire rated assembly above Hours: Design no. |  |
|  | d | Fire rated assembly below Hours: Design no. |  |
|  | e | Sprinklered (DWG’s may be required) |  |
|  | f | Fire alarm (DWG’s may be required) |  |
|  | g | Standpipe (DWG’s may be required) |  |
|  | h | Distance between exits | 3.4.2.3 |
|  | i | Public corridor | 3.3.1.9 |

3  MEZZANINE

|  | a | Mezzanine aggregate area: m2, Suite area: m2, MEZZ[%] |  |
| --- | --- | --- | --- |
|  | b | Mezzanine: Storey Not a Storey | 3.2.1.1.(3) to (8) |
|  | c | Vertical fire separation | 3.2.8.1 & 3.2.8.2 |
|  | d | Egress facilities Exits | 3.3.1.5.(2) to (4) & 3.4.2.2 |

|  | e | Mezzanine rating Hours Design no: |  |
| --- | --- | --- | --- |
|  | f | Stairs, landings, guards | 3.4.6 |

- OCCUPANCY REQUIREMENTS [General]

|  | a | Area: m2 Occupant Load: | 3.1.16 |
| --- | --- | --- | --- |
|  | b | Doorway from each suite into public corridor, exterior passageway or exterior exit door | 3.3.1.3.(8) |
|  | c | Access to 2 separate exits | 3.3.1.3.(9) |
|  | d | No. of egress from the suite and travel distance | 3.3.1.5 & 3.3.1.6 |
|  | e | Door swing & width | 3.3.1.10 to 3.3.1.12 |
|  | f | Capacity of access to exits | 3.3.1.16 |
|  | g | Electromagnetic locking d(Not permitted – panic hardware, F1) | 3.3.1.12.(10) |
|  | h | Emergency lighting | 3.2.7.3 & 3.2.7.4 |
|  | i | Exit signs | 3.4.5 |
|  | j | Plumbing facilities | 3.7.4 |
|  | k | X-ray installations – Ministry of Health/Labour | Letter / 3.7.5.3 |
|  | l | Barrier free requirements | 3.8 |
|  | m | Suite entrance Vestibule (Dimensions) | 3.8 |
|  | n | Washrooms required Layout (Dimensions) | 3.8 |
|  | o | Latchside clearances on doors with closures |  |

5 FIRE SEPARATIONS

|  | a | Between occupancies [Major occupancy F.S. & Suite F.S.] | 3.1.3.1, 3.1.3.2 & 3.3.1.1 |
| --- | --- | --- | --- |
|  | b | Public corridor F.S. [If glass door – Latch detail] | 3.3.1.4 & 3.1.8.13 |
|  | c | Service rooms (boiler, mech), janitors rooms | 3.6.2 & 3.3.1.20 |
|  | d | Shaft | 3.6.3 |
|  | e | Fire stopping | 3.1.11.2 to 3.1.11.7 |
|  | f | Storage garage | 3.3.5.6 |
|  | g | Repair garage | 3.3.5.5 |

A-2: [FOR SCHOOLS USE PART 3 GENERAL CHECKLIST]

|  | a | Restaurant > 30 seats [A-2] | 3.1.2.6 |
| --- | --- | --- | --- |
|  | b | Dept of Health approved drawings (co-ordinate) |  |
|  | c | Design occ. load > table 3.1.16. A, seating layout required. |  |
|  | d | Licensed establishment restaurant occ. load > 150, Fire alarm | 3.2.4.1.(2) (g) |
|  | e | Food premises | 3.7.6 |
|  | f | Occ. load > 300, fire alarm & signal to fire dept. | 3.2.4.1 & 3.2.4.7 |
|  | g | Occ. load > 100, panic hardware / fire exit hardware | 3.3.2.6, 3.4.6.15 |
|  | h | Restaurant seating > 40, staff washroom [min. 2.33 m2] | 3.7.4.3.(7) & 3.7.6.6.(2) |
|  | i | Washroom locations: indirect access, in restaurant or within 45m td | 3.7.6.3 |
|  | j | Handwashing lavatory for employees | 3.7.6.4.(1) |
|  | k | Exemption for retail food premises | 3.7.6.4.(3) |
|  | l | If dead-end corridor, 2nd egress not in dead-end | 3.3.1.9.(8) |
|  | m | Wheelchair spaces in seating area | 3.8.2.1.(4) |

#### D,E,F -2 AND F- 3

|  | a | Dead-end public corridor max 9m, occ. load = 30 max; self closing doors | 3.3.1.9.(11).(12). (13).(a) |
| --- | --- | --- | --- |
|  |  | Or |  |
|  | b | Second egress not leading into the dead-end | 3.3.1.9.(11).(12). (13).(b) |
|  | c | Cutting/welding other than in F: 1hr F.S. / auto extinguishing system | 3.3.1.24 |
|  | d | Occ. load > 300 total or > 75 above or below first storey, fire alarm | 3.2.4.1.(2) (d) (h) |

#### F-1

|  | a | Occ. load > 25, fire alarm & signal to fire dept | 3.4.2.1.(j) & 3.2.4.7 |
| --- | --- | --- | --- |
|  | b | Automatic fire extinguishing system | 3.3.5.2 |
|  | c | Minimum 2 egress [>15m2] | 3.3.1.5.(1).(a) |
|  | d | Panic hardware on exit doors / fire exit hardware | 3.4.6.15.(2).(c) |
|  | e | Electromagnetic locking devices not permitted | 3.3.1.12.(3) & 3.4.6.15.(4) |
|  | f | Travel distance maximum | 3.4.2.5.(1).(a) |
|  | g | If dead-end corridor, second egress not in dead-end | 3.3.1.9.(14) |

ADDITIONAL REQUIREMENTS FOR HAZARDOUS MATERIALS

|  | a | Refer to fire code requirements | 3.3.1.2 |
| --- | --- | --- | --- |
|  | b | No volatiles in the basement | 3.3.5.3 |
|  | c | Flammable liquids Quantity: L: Flashpoint: C: | Fire Prevention |
|  | d | Cabinet Storage: Quantity: L: | Fire Code |
|  | e | MSDS (material safety data sheet) may be required | Occupational Health and Safety |
|  | f | Room F.S. Hr. Density: L/m | Fire Code |
|  | g | Closures: Hr. Curb at door | Fire Code |
|  | h | Chemical catchment tank [Co-ord. With Plumb.] |  |
|  | i | Explosion venting Vent area: m2 | Fire Prevention |
|  | j | Release pressure: kN/m2, Structural review for walls & / slab(s) |  |
|  | k | Paint spray room [co-ord with mech.] | Fire Code |
|  | h | Dept. of labour approval required |  |