| Drawings Reviewed: (titles plus dates): | Project Name: Project Number: Review By: Date: Approved By: BCDN: |
| --- | --- |

1.	GENERAL										             OBC Reference

|  | a | Bldg height (3 storeys maximum) = | 2.1.1.3 |
| --- | --- | --- | --- |
|  | b | Building area = 600m2 max. Gross Area = m2 | 2.1.1.3 Part 1 Definition |
|  | c | Professional design & review (when gross area > 600m2) | 2.3 |
|  | d | Major occupancies | 9.10.2 & Table 9.10.2.1 |
|  | e | Basement as a separate building | 9.10.4.3 |
|  | f | Shoring details | 9.12.1.4 |

2.	FIRE SEPARATION BETWEEN FLOORS & OCCUPANCIES, ROOMS & SPACES

|  | a | Inter-connected floor spaces | 9.9.4.7, 9.10.9.5 & 3.2.8 |
| --- | --- | --- | --- |
|  | b | Shaft separation | 9.10.1.3.(6) & (7) |
|  | c | F.R.R. walls, floors and roofs | 9.10.8 & SG-8 |
|  | d | Permitted openings in wall and ceiling assemblies | 9.10.5.1 |
|  | e | Floors & roof fire rating based on occupancy | Table 9.10.8.1 |
|  | f | Roof fire rating (sprinkler waiver) | 9.10.8.2 |
|  | g | Support of rated assemblies | 9.10.8.3 |
|  | h | Roof supporting an occupancy (construct as a floor) | 9.10.8.6 |
|  | i | Continuity of fire separation | 9.10.9.2 |
|  | j | Floor assemblies (exceptions to fire separation requirements) | 9.10.9.4 |
|  | k | Tenancy or occupancy separation | 9.10.9.11 9.10.9.13 to 14 |

|  | l | Separation for horizontal service space | 9.10.9.10 |
| --- | --- | --- | --- |
|  | m | Public corridor separation | 9.10.9.15 |
|  | n | Storage and repair garage separation | 9.10.9.16 & 9.10.9.17 |
|  | o | Service room separation / Incinerators | 9.10.10.3 & 9.10.10.5 |
|  | p | Garbage room separation (no chute) | 9.10.10.6 |
|  | q | Fire wall | 9.10.11, 3.1.10 |
|  | r | Spandrel wall between openings | 9.10.12.1 |
|  | s | Location of skylights | 9.10.12.3 |
|  | t | Closures for opening in fire separation [self closer, latch, max. size] | 9.10.13 Table 9.10.13.(1) |

3.  REQUIREMENTS FOR EXITS

|  | a | 2 exits for 60 occ. load on roof | 9.9.2.1.(2) |
| --- | --- | --- | --- |
|  | b | Ancillary rooms not to open into an exit | 9.9.2.6 |
|  | c | Stair treads at right angles to exit travel | 9.9.2.9 |
|  | d | Width of exits and exit corridors | 9.9.3.2 & 9.9.3.3 |
|  | e | Headroom clearance in exits minimum 2100 mm | 9.9.3.4.(1) |
|  | f | Separation of exit | 9.9.4.2 |
|  | g | Protection of exposed exterior exit stair | 9.9.4.4 |
|  | h | Protection of window and door in exit | 9.9.4.5. & 9.9.4.6 |
|  | i | Appliances or boiler near exit | 9.9.5.7 & 9.9.5.8 |
|  | j | Door swing in exit corridors & stairs | 9.9.6.2 |
|  | k | Min. door size in corridor, 810 mm x 2030 mm | 9.9.6.4 |
|  | l | Door swing from room over 60 persons & exit door | 9.9.6.5 |
|  | m | Landing 300 mm wider and longer than door | 9.9.6.6 |

|  | n | Exit door able open from inside without key | 9.9.6.8 |
| --- | --- | --- | --- |
|  | o | Door at corridor to exit in 2 direction | 9.9.7.1 |
|  | p | Dead end corridor | 9.9.7.2 |
|  | q | 2 egress doors to suites | 9.9.7.3 |
|  | r | Min 2 exits from every storey | 9.9.8.2 |
|  | s | Single exit permitted under 2 storeys (0.L. < 60) | 9.9.8.2.(2) |
|  | t | Remoteness of exits | 9.9.8.4 |
|  | u | Exit through lobby | 9.9.8.5 |
|  | v | Egress from dwelling units | 9.9.9 |
|  | w | Exit sign location and illumination | 9.9.10.3 & 9.9.10.7 |
|  | x | Sign to basement only | 9.9.10.8 |

- STAIRS, RAMPS, HANDRAILS, & GUARDS

|  | a | Min. 3 risers | 9.8.2.2 |
| --- | --- | --- | --- |
|  | b | Riser, tread and nosing | 9.8.3.1 & 9.8.3.2 |
|  | c | Min. width | 9.8.3.3.(1) |
|  | d | Clear height of 2050 mm for stair | 9.8.3.4 |
|  | e | Landings | 9.8.4.1 & 9.8.4.2 |
|  | f | Max. 3700 mm between landings | 9.8.4.3 |
|  | g | Clear height of 2050 mm for landings | 9.8.4.4 |
|  | h | Curved stair (exit & non exit) and winders in a stair | 9.8.5.1 to 9.8.5.3 & 3.4.6.8 |
|  | i | Max. gradient of ramp (refer also to B/F requirements) | 9.8.6.2 & 3.8.3.4 |
|  | j | Level area in ramps | 9.8.6.3 |
|  | k | Handrails on stairs, continuous handrail, handrail extension | 9.8.7.1 to 9.8.7.3 |
|  | l | Height and clearance of handrail | 9.8.7.4 to 9.8.7.5 |

|  | m | Projection of handrail | 9.8.7.6 |
| --- | --- | --- | --- |
|  | n | Handrail for ramps | 9.8.7.7 |
|  | o | Attachment of handrails | 9.8.7.8 |
|  | p | Required guards | 9.8.8.1 |
|  | q | Height of guards | 9.8.8.2 |
|  | r | Curb and guard for garages | 9.8.8.3 |
|  | s | Openings through a guard | 9.8.8.4 |
|  | t | Design to prevent climbing | 9.8.8.5 |
|  | u | Support for exterior concrete stair | 9.8.9.1 |
|  | v | Non-skid finish | 9.8.9.5.(2) |
|  | w | Open stairway “D & “E” occupancy | 9.9.4.7 & 9.10.9.5 |

5.	DOORS & WINDOWS

|  | a | Glass in doors and sidelights | 9.6.6.2 |
| --- | --- | --- | --- |
|  | b | Visibility of glass or transparent doors | 9.6.6.4 |
|  | c | Resistance to forced entry [doors] | 9.6.8 |
|  | d | Windows min. area | 9.7.1.2 Table 9.7.1.2 |
|  | e | Bedroom windows | 9.7.1.3 |
|  | f | Window opening onto a window-well | 9.7.1.4 |
|  | g | Windows in public areas (residential occupancy) and forced entry | 9.7.5 & 9.7.6.1 |
|  | h | Natural ventilation | 9.32.2 Table 9.32.2.1 |

6. Spatial Separation

|  | a | Protection of steel lintels | 9.10.7.1 & 3.2.2.3 |
| --- | --- | --- | --- |
|  | b | Exterior walls meeting at angle | 9.10.12.4 |
|  | c | Protection of soffitts | 9.10.12.5 |

7. LIGHTING, FIRE ALARM AND FIREFIGHTING

|  | a | Lighting for every exit and corridor | 9.9.11.2 |
| --- | --- | --- | --- |
|  | b | Emergency lighting in exit, corridor, or below grade | 9.9.11.3 |
|  | c | Where fire alarm is required | 9.10.17.1, 9.10.17.2 Table 9.10.17.2, 9.10.17.5 |
|  | d | Required suite smoke alarms | 9.10.18.1 to 9.10.18.4 |
|  | e | Access panel on upper floors | 9.10.19.1 |
|  | f | Access to basement | 9.10.19.2 |
|  | g | Access for fire dept. equipment (street) | 9.10.19.3 |

8.	REQUIREMENTS FOR MEZZANNINES

|  | a | Mezzanine (not a storey) | 9.10.4.1 & 9.10.4.2 |
| --- | --- | --- | --- |
|  | b | Termination at vertical fire separation | 9.10.12.2 |
|  | c | Exit requirements | 9.9.8.6 |
|  | d | Egress facilities (where exits not required) | 9.9.7.3 |

9.  FIRESTOPPING

|  | a | Pipes penetrating fire separation | 9.10.9.6 & 9.10.9.7 |
| --- | --- | --- | --- |
|  | b | In concealed spaces in ceiling, roof or attic (unsprinklered, combustible) | 9.10.15.1.(4) & (5) |
|  | c | In concealed space in mansard roofs, canopies or balconies of comb. Construction | 9.10.15.1.(6) |

# Text boxes

Legend:         N     Not required            R    Required	        C  	Confirm requirements or	   RC   	Review completed and item

construction detail(s)		indicated on documents

This checklist is intended to assist architects in a review of code requirements to be considered in the preparation and review of documents to support a permit application.  A simple review of the checklist is not a substitute for a thorough review of the OBC.  Modify the checklist to note applicable code requirements for the project.